{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["data1","Sheet2","tel","重煤集团报价","Sheet1"],"not_rendered":{"images":1,"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"data1","index":0,"n_rows":63,"n_cols":10,"rows_kept":63,"hidden":true,"flags":["formulas_cached_only"]}
["油变","S9-45/6","S9-M-50/10","SZ9-200/10","SXM9-160/10","SC9-100/6","KS9-20/6","ZLSG-5","ZLS-25","ZLS-M-100"]
["全密封油变","S9-160/6","S9-M-250/10","SZ9-250/10","SXM9-200/10","SC9-50/10","KS9-50/6","ZLSG-8","ZLS-30","ZLS-M-250"]
["有载调压油变","S9-200/6","S9-M-315/10","SZ9-315/10","SXM9-250/10","SC9-80/10","KS9-80/6","ZLSG-10","ZLS-35","ZLS-M-400"]
["厢配油变","S9-315/6","S9-M-400/10","SZ9-400/10","SXM9-315/10","SC9-100/10","KS9-100/6","ZLSG-15","ZLS-40","ZLS-M-500"]
["干式变压器","S9-400/6","S9-M-500/10","SZ9-500/10","SXM9-500/10","SC9-125/10","KS9-125/6","ZLSG-20","ZLS-45"]
["矿用变压器","S9-500/6","S9-M-630/10","SZ9-630/10","SXM9-630/10","SC9-160/10","KS9-160/6","ZLSG-25","ZLS-50"]
["干式整流励磁特变","S9-800/6","S9-M-800/10","SZ9-800/10","SXM9-800/10","SC9-200/10","KS9-200/6","ZLSG-30","ZLS-55"]
["油浸式整流励磁特变","S9-1000/6","S9-M-1000/10","SZ9-1000/10",null,"SC9-250/10","KS9-250/6","ZLSG-35","ZLS-63"]
["油浸式全密封整流励磁特变","S9-1250/6","S9-M-1250/10","SZ9-1250/10",null,"SC9-315/10","KS9-315/6","ZLSG-40","ZLS-70"]
[null,"S9-1600/6","S9-M-1600/10","SZ9-1600/10",null,"SC9-400/10","KS9-400/6","ZLSG-45","ZLS-80"]
[null,"S9-1250/6.3","S9-M-2000/10","SZ9-2000/10",null,"SCB9-630/6","KS9-500/6","ZLSG-50","ZLS-100"]
[null,"S9-10/10","S10-M-1600/10","SZ9-2500/10",null,"SCB9-800/6","KS9-630/6","ZLSG-55","ZLS-125"]
[null,"S9-20/10","S11-M-500/6","SZ9-5000/10",null,"SCB9-1000/6","KS9-80/10","ZLSG-63","ZLS-160"]
[null,"S9-30/10","S11-M-800/6","SZ9-800/35",null,"SCB9-400/10","KS9-250/10","ZLSG-70","ZLS-200"]
[null,"S9-50/10","S11-M-1250/6","SZ9-1000/35",null,"SCB9-500/10","KS9-315/10","ZLSG-80","ZLS-250"]
[null,"S9-80/10","S11-M-160/10","SZ9-1250/35",null,"SCB9-630/10","KS9-400/6","ZLSG-100"]
[null,"S9-100/10","S11-M-1250/10","SZ9-1600/35",null,"SCB9-800/10","KS9-200/10.5","ZLSG-125"]
[null,"S9-125/10",null,"SZ9-2000/35",null,"SCB9-1000/10",null,"ZLSG-160"]
[null,"S9-160/10",null,"SZ9-2500/35",null,"SCB9-1250/10",null,"ZLSG-200"]
[null,"S9-200/10",null,"SZ9-3150/35",null,"SCB9-1600/10",null,"ZLSG-250"]
[null,"S9-250/10",null,"SZ9-4000/35",null,"SCB9-2000/10",null,"SG-50/6/0.4"]
[null,"S9-315/10",null,"SZ9-5000/35",null,"SCB9-2500/10",null,"SG-63/380/230"]
[null,"S9-400/10",null,"SZ9-6300/35",null,"SCB10-1250/10"]
[null,"S9-500/10",null,"SZ9-8000/35"]
[null,"S9-630/10",null,"SZ9-10000/35"]
[null,"S9-800/10",null,"SZ9-12500/35"]
[null,"S9-1000/10"]
[null,"S9-1250/10"]
[null,"S9-1600/10"]
[null,"S9-2000/10"]
[null,"S9-2500/10"]
[null,"S9-3150/10"]
[null,"S9-4000/10"]
[null,"S9-50/35"]
[null,"S9-80/35"]
[null,"S9-100/35"]
[null,"S9-125/35"]
[null,"S9-160/35"]
[null,"S9-200/35"]
[null,"S9-250/35"]
[null,"S9-315/35"]
[null,"S9-400/35"]
[null,"S9-500/35"]
[null,"S9-630/35"]
[null,"S9-800/35"]
[null,"S9-1000/35"]
[null,"S9-1250/35"]
[null,"S9-1600/35"]
[null,"S9-2000/35"]
[null,"S9-2500/35"]
[null,"S9-3150/35"]
[null,"S9-4000/35"]
[null,"S9-5000/35"]
[null,"S9-6300/35"]
[null,"S9-8000/35"]
[null,"S9-10000/35"]
[null,"S9-12500/35"]
[null,"S9-16000/35"]
[null,"S9-20000/35"]
[null,"S9-25000/35"]
[null,"S9-31500/35"]
[null,"SFZ10-8000/35"]
[null,"SS9-2500/35"]

{"sheet":"Sheet2","index":1,"n_rows":88,"n_cols":16,"rows_kept":88,"merged":[[0,0,0,18],[1,0,1,7],[1,8,1,18],[2,16,2,18],[3,0,4,7],[3,8,4,15],[6,0,6,17],[7,1,7,3],[7,4,7,17],[8,0,8,17],[9,2,9,5],[9,8,9,10],[9,11,9,18],[10,2,10,5],[10,8,10,10],[10,11,24,18],[11,2,11,5],[11,8,11,10],[12,2,12,5],[12,8,12,10],[13,2,13,5],[13,8,13,10],[14,2,14,5],[14,8,14,10],[15,2,15,5],[15,8,15,10],[16,2,16,5],[16,8,16,10],[17,2,17,5],[17,8,17,10],[18,2,18,5],[18,8,18,10],[19,2,19,5],[19,8,19,10],[20,2,20,5],[20,8,20,10],[21,2,21,5],[21,8,21,10],[22,2,22,5],[22,8,22,10],[23,2,23,5],[23,8,23,10],[24,2,24,5],[24,8,24,10],[25,2,25,10],[25,11,25,18],[27,1,27,3],[29,1,29,7],[29,10,29,11],[29,12,29,14],[29,15,29,16],[29,17,29,18],[30,1,30,7],[30,10,30,11],[30,12,30,18],[31,1,31,7],[31,10,31,11],[31,12,31,18],[32,11,32,18]],"flags":["formulas_cached_only"]}
["室外消防器材箱项目\n报　价　单"]
["采购编号：",{"$nulls":7},"采购单位：保卫部（处）"]
[]
["报价单位（盖章）：",{"$nulls":7},"报价日期："]
[]
[]
[]
[null,"一、货物项目报价明细"]
[]
[null,"服务项目","规格或技术参数",{"$nulls":3},"数量","单价\n（元）","金额\n（元）",null,null,"服务承诺（必填）"]
[null,"室外消防器材箱","尺寸：960×650×260mm\n材质：304不锈钢，1.5mm厚\n安装要求：立杆安装，离地面500mm，埋地300mm",{"$nulls":3},25,null,{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,null," ",{"$nulls":5},{"v":0,"d":"0.0"}]
[null,"合计",{"$nulls":4},25,null,{"v":0,"d":"0.0"}]
[null," "," ",{"$nulls":8},"报价有效期：30天"]
[]
[null,"二、通讯联络"]
[]
[null,"供应商联系人：",{"$nulls":8},"采购联系人：",null,"梁斌",null,null,"员工代码："]
[null,"供应商联系电话：（固话）",{"$nulls":8},"联系电话：",null,"020-87111128"]
[null,"                          （手机）",{"$nulls":8},"联系传真：87111115\n020-87111115",null,"020-87111115"]
{"$rows_empty":41}
["马聪"]
["陈羧"]
["贺翔婷"]
["郑德富"]
["白兆云"]
["王明跃"]
["马君"]
["顾忆敏"]
["张灵"]
["王建芳"]
["林春木"]
["廖显洪"]
["唐华"]
["蒋莉"]
["黎建国"]

{"sheet":"tel","index":2,"n_rows":27,"n_cols":2,"rows_kept":27,"hidden":true,"flags":["formulas_cached_only"]}
["name","telephone"]
["白钢",13983383851]
["白兆云",13608381183]
["蔡维勤",13084444263]
["陈明",13983733607]
["陈羧",13708389257]
["陈云华",13883281321]
["程昌林",15923592323]
["冯飞",15927174690]
["何吉祥",13368076590]
["何有利",13883580708]
["胡汉渝",13983272080]
["华中",13068308524]
["蒋莉",13508305292]
["柯永利",13883922393]
["李冬",13038309956]
["廖显洪",13984393203]
["刘中华",13608366850]
["彭军",13896095182]
["唐磊",13312217124]
["王建芳",13982649955]
["王明跃",13037835083]
["熊涛",13752977999]
["殷明",13883355398]
["张力祥",13708389210]
["张灵",13983371008]
["郑德富",13508391301]

{"sheet":"重煤集团报价","index":3,"n_rows":105,"n_cols":24,"rows_kept":105,"hidden":true,"merged":[[0,0,0,19],[1,0,1,19],[2,0,2,8],[2,17,2,19],[3,17,3,19],[4,0,5,11],[4,12,4,14],[4,17,4,19],[5,12,5,19],[7,0,7,18],[8,1,8,3],[8,4,8,18],[9,0,9,18],[10,0,10,1],[10,2,10,5],[10,7,10,8],[10,9,10,11],[10,12,10,19],[11,0,11,1],[11,2,11,5],[11,7,11,8],[11,9,11,11],[11,12,18,19],[12,0,12,1],[12,2,12,5],[12,7,12,8],[12,9,12,11],[13,0,13,1],[13,2,13,5],[13,7,13,8],[13,9,13,11],[14,0,14,1],[14,2,14,5],[14,7,14,8],[14,9,14,11],[15,0,15,1],[15,2,15,5],[15,7,15,8],[15,9,15,11],[16,0,16,1],[16,2,16,5],[16,7,16,8],[16,9,16,11],[17,0,17,1],[17,2,17,5],[17,7,17,8],[17,9,17,11],[18,0,18,1],[18,2,18,5],[18,7,18,8],[18,9,18,11],[19,0,19,1],[19,2,19,11],[19,12,19,19],[21,1,21,3],[21,11,21,16],[23,1,23,2],[23,3,24,5],[23,6,24,8],[23,11,25,19],[24,1,24,2],[25,1,25,2],[25,3,25,5],[25,6,25,8],[26,1,26,2],[26,3,26,5],[26,6,26,8],[26,11,28,19],[27,1,27,2],[27,3,27,5],[27,6,27,8],[28,1,29,2],[28,3,29,5],[28,6,29,8],[29,11,30,19],[30,1,30,2],[30,3,30,5],[30,6,30,8],[31,1,31,2],[31,3,31,5],[31,6,31,8],[31,11,31,18],[32,1,32,2],[32,3,32,5],[32,6,32,8],[32,11,32,12],[32,13,32,14],[32,15,32,16],[33,1,33,2],[33,3,33,8],[33,11,33,12],[33,13,33,14],[33,15,33,16],[34,1,34,2],[34,3,34,5],[34,6,34,8],[34,11,34,12],[34,13,34,14],[34,15,34,16],[35,1,35,2],[35,3,35,5],[35,6,35,8],[35,11,35,12],[35,13,35,14],[35,15,35,16],[36,1,36,2],[36,3,36,5],[36,6,36,8],[36,11,36,12],[36,13,36,14],[36,15,36,16],[37,1,37,2],[37,3,37,5],[37,6,37,8],[37,11,37,12],[37,13,37,14],[37,15,37,16],[38,1,38,2],[38,3,38,4],[38,5,38,6],[38,7,38,8],[38,11,38,12],[38,13,38,14],[38,15,38,16],[39,11,39,19],[40,1,40,3],[42,1,42,8],[42,11,42,12],[42,13,42,15],[42,16,42,17],[42,18,42,19],[43,1,43,8],[43,11,43,12],[43,13,43,17],[44,1,44,8],[44,13,44,16],[45,1,45,8],[45,11,45,19],[46,1,46,8],[46,11,46,18],[48,12,48,18],[49,12,49,18]],"flags":["formulas_cached_only"]}
[]
["重  庆  变  压  器  厂\n报　价　单"]
["重庆煤炭集团物资有限责任公司："]
[]
["　　感谢惠顾，现将贵公司所需变压器报价如下："]
[]
[]
[]
[null,"一、产品、价格、交货期"]
[]
["产品名称：",null,"型号及规格",{"$nulls":3},"数量\n（台）","单价\n（万元／台）",null,"金额\n（万元）",null,null,"交货事宜"]
["油变",null,"S9-63/10/0.4",{"$nulls":3},1,{"v":1.84,"d":"1.8400"},null,{"v":1.84,"d":"1.8400"},null,null,"1、价款中含运费\n2、交货期为合同生效后30天"]
[{"$nulls":9},{"v":0,"d":"0.0000"}]
[{"$nulls":9},{"v":0,"d":"0.0000"}]
[]
[]
[]
[]
["合　计",null,"***",{"$nulls":3},1,"***",null,{"v":1.84,"d":"1.8400"}]
["合计大写金额",null,18400,{"$nulls":9},"报价有效期：10天"]
[]
[null,"二、技术条件",{"$nulls":9},"三、服务承诺"]
[]
[null,"型号及规格",null,"S9-63/10/0.4",null,null,0,{"$nulls":4},"一、产品质保期内，用户需提供准确地址，市内主城区4小时；市外12小时到达现场服务，及时处理。"]
[null,"         项目"]
[null,"1、额定容量（kVA)",null,"63",null,null,{"$error":"#VALUE!"}]
[null,"2、相数",null,3,null,null,"同左",{"$nulls":4},"二、我厂对提供的产品，实行终身服务，协助用户对产品进行保养维护、修理及更换零、配件"]
[null,"3、频率(HZ)",null,50,null,null,"同左"]
[null,"4、电压组合及\n      分接范围",null,"10kV±5％/0.4kV ",null,null,"同左"]
[{"$nulls":11},"三、变压器在正常运行和维护条件下使用寿命为30年。"]
[null,"5、联结组标号",null,"Yyn0",null,null,"同左"]
[null,"6、调压方式",null,"无励磁调压 ",null,null,"同左"]
[null,"7、阻抗电压（％）",null,4,null,null,"同左"]
[null,"8、冷却方式",null,"ONAN（油浸自冷）"]
[null,"9、外壳",null,"铝合金外壳",null,null,"同左"]
[null,"10、配温控系统否",null,"配",null,null,"同左"]
[null,"11、配风冷系统否",null,"配",null,null,"同左"]
[null,"12、低压出线方式",null,"常规",null,null,"同左"]
[]
[]
[null,"四、通讯联络"]
[]
[null,"需 方 联 系 人 ：蒲世明",{"$nulls":9},"供 方 联 系 人：",null,"陈云华",null,null,"员工代码：",null,"027"]
[null,"需方联系电话：63844439",{"$nulls":9},"供方联系电话：",null,13883281321,{"$nulls":5},89093382]
[null,"需方传真电话：63830589",{"$nulls":9},"供方传真电话：",null,"023-65256979"]
[null,"需方地址：重庆市渝中区五一路71号",{"$nulls":9},"供方地址：重庆市九龙坡区华岩南村一号"]
[null,"需方邮编：400010",{"$nulls":9},"供方邮编：400052"]
[]
[{"$nulls":12},"重庆变压器厂"]
[{"$nulls":12},"2020-12-31"]
[]
[]
[]
[]
[]
[]
[{"$nulls":21},"郑德富",13508391301,"008"]
[{"$nulls":21},"陈羧",13708389257,"011"]
[{"$nulls":21},"白兆去",13608381183,"009"]
[{"$nulls":21},"王明跃",13037835083,"006"]
[{"$nulls":21},"张灵",13983371008,"014"]
[{"$nulls":21},"廖显洪",13984393203,"023"]
[{"$nulls":21},"王建芳",13982649955,"019"]
[{"$nulls":21},"蔡维勤",13084444263,"028"]
[{"$nulls":21},"陈云华",13883281321,"027"]
[{"$nulls":21},"蒋莉",13508305292,"013"]
[{"$nulls":21},"陈雪梅",13110179180,"032"]
[{"$nulls":21},"熊涛",13983494925,"037"]
[{"$nulls":21},"陈明",66189767,"039"]
[{"$nulls":21},"白钢",13983383851,"034"]
[{"$nulls":21},"林志良",6754534,"043"]
[{"$nulls":21},"刘中华",13608366850,"045"]
[{"$nulls":21},"吴善书",13368076590,"046"]
[{"$nulls":21},"何吉祥",13368076590,"047"]
[{"$nulls":21},"李冬",13038309956,"048"]
[{"$nulls":21},"王玉强",13983872824,"049"]
[{"$nulls":21},"杨孝容",13224059353,"050"]
[{"$nulls":21},"胡汉渝",13983272080,"051"]
[{"$nulls":21},"华中",13068308524,"052"]
[{"$nulls":21},"唐磊",13312217124,"053"]
{"$rows_empty":10}
["马聪"]
["陈羧"]
["贺翔婷"]
["郑德富"]
["白兆云"]
["王明跃"]
["马君"]
["顾忆敏"]
["张灵"]
["王建芳"]
["林春木"]
["廖显洪"]
["唐华"]
["蒋莉"]
["黎建国"]

{"sheet":"Sheet1","index":4,"n_rows":10,"n_cols":5,"rows_kept":10,"hidden":true,"flags":["formulas_cached_only"]}
["标号","阻抗","产品类型","调压方式","冷却方式"]
["Yyn0",{"v":4,"d":"4.0"},"油变","有载调压","ONAN(油浸自冷）"]
["Dyn11",4.5,"干变","无励磁调压","ONAF(油浸风冷）"]
["Yd11",5.5,"矿变","同左","AN/AF(自冷/风冷）"]
["Ynd11",{"v":6,"d":"6.0"},"特变",null,"自冷"]
["Yy0-d11",6.5,"其他",null,"同左"]
["Yyn0或Dyn11",{"v":7,"d":"7.0"},"同左"]
["同左",7.5]
["Dd0",{"v":8,"d":"8.0"}]
[null,"同左"]